# Appendix C:	Additional Information Checklist

Check off the following items as you add them to your Emergency Response and Contingency Plan.

### Communication Protocols

- Communications Protocols with contact list of water system users (include phone numbers and addresses).

- “Water Quality Advisory”, “Boil Water Notice”, “Do Not Consume Notice” and “Do Not Use Water Notice” signs, and instructions for issuance.

- Operating equipment instructions.

- Instructions for switching to alternative source (if applicable).

- Instructions for switching to generator / alternative power supply.

- Instructions for shutting off water supply.

- Disinfection procedures for wells, distribution system and reservoir (refer to Resource/Reference List)

- Disinfection operation.

- Electrical schematics for generator.

- Electrical schematics for disinfection equipment and room.

### Map of Water Supply System

- Source (include GPS settings and directions as needed).

- Mains.

- Critical control points (where a loss of control could result in a risk of adverse health effects or equipment damage).

- Intake(s).

- Shut-off valves.

- Access routes to critical control points.

- Pump house.

- Locations of emergency contact list, tools, spare parts and maintenance equipment.

- High-water-use industries.

- High-risk facilities:

  - schools

  - day-care centres

  - seniors residential housing complexes (e.g. supportive housing or assisted living)

  - long-term-care facilities

  - hospitals and medical/dental offices